## Slide 1
Weidmuller 2614860000 TOP 5VDC 48VDC0.1A
Schneider Electric Acti 9 - ARA auto recloser aux for iID 2P
Schneider Electric A9F04206 MCBs IC60N 2P, 6A C
Schneider Electric A9A26924 - Acti 9 - Auxiliary contact iOF - 1 C/O - AC/DC
Schneider Electric Modicon M221 Nano PLC
5V-DC Relay with 48V-DC Contact
High Voltage AC Circuit Breaker
Breaker Control Motor
Breaker State Sensor
Programmable Logic Controller (PLC)

## Slide 2
AC lift 220V
AC Neutral
AC Protective Earth
48V DC +
DC- GND
5V DC +
3.3K Ohm Ω resistor
PLC Contact signal input
PLC Coil signal output
AC power load device
Control motor AC power input
PLC AC power input
Breaker Control Motor
High Voltage AC Circuit Breaker
Breaker State Sensor
5V-DC Relay with 48V-DC Contact
Power System SCADA HMI
OT-ICS network
Motor control signal