## Slide 1
OT Field Controller/Meter
HMI Program Main Thread
OT Data Manager Thread
ModBus-TCP Comm Client
Siemens-S7Comm
Comm Client
IEC-60870-5-104 Comm Client
OPC-UA
Comm Client
Raw OT Data Storage and process module
IT Data Manager Thread
Data Base Comm Client
HMI Comm Client
IT Data Storage module
Master HMI
Slave HMI
PLC
RTU
IED
DB
UI Display Manager Thread
UI Components Manager
Display Refresh
Manager
User Action and Event Handler
Local I/O Manager Thread
Operator
Config Loader
Log and Record Generator
Global Variable Module
Log file
Config file
Data Processing Thread
OT Data Convert Module
Data Mapping Module
Data Filter Module
Data Verify Module
Data Process module
Program Control Module
Program Clock Control Module
Program Data Control Module
Alert Management Module
Pre-Configured Instance Response Module
ICS Database
OT System Operational Information
User Control Action
LL Operation Verification Module

## Slide 2
PLC Input Contact Connected Sensor PW ID
PLC Output Coil Connected Singal’s PW ID
COUNT DOWN TIMER
COUNT = 10
R_H0
Q0
Ladder logic Holding register’s Idx and state
Ladder logic Coil Idx and state
PLC Information:
ID
Position
IP address
-Port
Connection State
Physical World
PLC Ladder Logic Diagram
Station HMI
Holding Register ID and state
Physical World Signal ID
Coil State
Coil ID
Physical World Sensor ID

## Slide 3
Junction block sensor link
[Red dash line]
Junction release sensor link
[Green dash line]
Junction block signal [Red: Block]
Junction block signal [Green: Release]
Junction release sensor
[Blue: triggered]
Junction block sensor
[Blue: triggered]
Train station docking sensor [Gray: not triggered]
Train station docking sensor triggered [Blue: triggered] ]
Train station signal [Green: Signal off ]
PLC information
PLC coil state
[ voltage high]
PLC coil state
[ voltage low]
PLC Contact input [Physical World Sensor ID]
PLC Contact input [empty]
PLC register state
[ Green: set]
PLC register state
[ Gray: clear]
PLC coil output [empty]
PLC coil output [Physical World Signal ID]
Coil ID
Date & Time Indicator
Mode state

## Slide 4
Station block entrance sensor
[Gray: not triggered]
Block override control check box [disabled ]
Station block entrance signal
[Green: allow dock]
Block release sensor
Block freeze
sensor
Block control
signal
Date & Time Indicator
PLC information
PLC coil state
[ voltage low]
PLC coil output [empty]
PLC coil output
[Physical World
Signal ID]
PLC Contact input [Physical World Sensor ID]
PLC Contact input [empty]
Mode state
PLC register state
[ Green: set]
Block override control check box [enabled ]

## Slide 5
Train ID
Trains 3rd track Power [Red: supply off]
Train 3rd track Power [Green: supply on]
Train current speed gauge
Train DC Current value
Train DC voltage value
Date & Time Indicator
Trains RTU Information
Trains current front radar detection state [Green: front clear, safe]
Trains current front radar detection state [Brown: Detected ]
Test Mode OFF:
- Display Trains RTU Raw Data:
Test Mode ON:
- Editable for user to input different value to test alert handler and filter function.
PLC information
PLC coil state
[ voltage high]
PLC coil output [empty]
PLC Contact input [empty]
PLC coil output
[Physical World
Signal ID]
PLC Contact input
[Physical World Sensor ID]
Train collision auto
avoidance enable backdoor control
Mode state
Train 3rd track Power turn On button
Train 3rd track Power turn Off button
Train average speed value
Train state panel [colour]
Place holder [Gray]

## Slide 6
Railway track switch fork
Station Indicator
Train Indicator
Junction entrance signal
Station entrance and exit signals
Track direction indicator
Junction track block signal
Date & Time Indicator
Station platform door state indictor [Red: door lock]
Track continuous section indicator
Train passing junction block
Railway track switch fork signals
Mode state
Train docking in station
Double tracks junction
[CC-Line cross NS-Linex2 ]
Singal track junction
NS-Line cross CC-Line]
Station entrance and exit signals
[Red: docking]
Tracks end buffer area indicators
Platford door indicator
[Green: door open]