## Slide 1
OT Field Controller/Meter
HMI Program Main Thread
OT Data Manager Thread
ModBus-TCP Comm Client
Siemens-S7Comm
Comm Client
IEC-60870-5-104 Comm Client
OPC-UA
Comm Client
Raw OT Data Storage and process module
IT Data Manager Thread
Data Base Comm Client
HMI Comm Client
IT Data Storage module
Master HMI
Slave HMI
PLC
RTU
IED
DB
UI Display Manager Thread
UI Components Manager
Display Refresh
Manager
User Action and Event Handler
Local I/O Manager Thread
Operator
Config Loader
Log and Record Generator
Global Variable Module
Log file
Config file
Data Processing Thread
OT Data Convert Module
Data Mapping Module
Data Filter Module
Data Verify Module
Data Process module
Program Control Module
Program Clock Control Module
Program Data Control Module
Alert Management Module
Pre-Configured Instance Response Module
ICS Database
OT System Operational Information
User Control Action
LL Operation Verification Module

## Slide 2
PLC Input Contact Connected Sensor PW ID
PLC Output Coil Connected Singal’s PW ID
COUNT DOWN TIMER
COUNT = 10
R_H0
Q0
Ladder logic Holding register’s Idx and state
Ladder logic Coil Idx and state
PLC Information:
ID
Position
IP address
-Port
Connection State
Physical World
PLC Ladder Logic Diagram
Station HMI
Holding Register ID and state
Physical World Signal ID
Coil State
Coil ID
Physical World Sensor ID