## Slide 1
Weidmuller 2614860000 TOP 5VDC 48VDC0.1A
Schneider Electric Acti 9 - ARA auto recloser aux for iID 2P
Schneider Electric A9F04206 MCBs IC60N 2P, 6A C
Schneider Electric A9A26924 - Acti 9 - Auxiliary contact iOF - 1 C/O - AC/DC
Schneider Electric Modicon M221 Nano PLC
5V-DC Relay with 48V-DC Contact
High Voltage AC Circuit Breaker
Breaker Control Motor
Breaker State Sensor
Programmable Logic Controller (PLC)

## Slide 2
AC lift 220V
AC Neutral
AC Protective Earth
48V DC +
DC- GND
5V DC +
3.3K Ohm Ω resistor
PLC Contact signal input
PLC Coil signal output
AC power load device
Control motor AC power input
PLC AC power input
Breaker Control Motor
High Voltage AC Circuit Breaker
Breaker State Sensor
5V-DC Relay with 48V-DC Contact
Power System SCADA HMI
OT-ICS network
Motor control signal
Circuit breaker input ( Can be other high voltage AC/DC bus )

## Slide 3
[2] Circuit breaker Motor handle used to flip the breaker
[1] Circuit breaker handle used to control the breaker on and off
[3] Sensor handle used to detect breaker and motor handle position

## Slide 4
PLC first scan bit
PLC Contact state
PLC coil state
PLC coil output [motor]
%S13
%I0.0
%Q0.0
%Q0.0
Rung0

## Slide 5
Hardware device
Electrical signal
Fetch sensor data from PLC holding register
Set motor state by change the state of the coils
Show breaker state on the HMI UI
PLC Contacts
Pin Index
PLC Holding Register index and state
PLC Coils State and Control
PLC Coils Pin Index
Circuit break is turned [on]
Circuit break is turned [off]
PLC
Power system HMI

## Slide 6
When Circuit Breaker Exception Detected, show the flash alert signal under the breaker to remind operator.
Operator needs to check the breaker state, then change the breaker to correct state to clear the alert.